02/25/2025

Include if project has reinforcing steel.

## Section 554. — REINFORCING STEEL

**554.08 Placing and Fastening.** Delete the fourth sentence of the fourth paragraph and substitute the following:

Place reinforcing steel in deck slabs within +¼  inch of the vertical plan location.