INCLUDE SECTION 636 AS NEEDED BASED ON CLAUSE INSTRUCTIONS

$$636.00A

Section 636. — TRAFFIC SIGNAL, TRAFFIC COUNTER, LIGHTING, AND ELECTRICAL SYSTEMS

Revised 17 September 2026

INCLUDE THE FOLLOWING ON ALL PROJECTS WITH RECTANGULAR RAPID FLASHING BEACONS (IF USED, ALSO INCLUDE CLAUSES $$636.08A, $$718.04A AND $$718.19A)

$$636.02A

636.02.  Add the following:

Rectangular rapid-flashing beacon systems				718.19

Sign supports for rectangular rapid-flashing beacon systems		718.04A

INCLUDE CLAUSE $$636.04A WHEN INSTALLING PULL BOXES FOR TRAFFIC COUNTERS. (IF USED, ALSO INCLUDE CLAUSES $$636.05B AND $$721.01A)

$$636.04A

636.04.  Add the following:

Fabricate pull boxes with fiberglass reinforced polymer concrete or precast concrete.

INCLUDE CLAUSE $636.05A FOR REPLACEMENT/REPAIR OF TRAFFIC COUNTERS

$$636.05A

636.05.  Delete the first sentence of the third paragraph and substitute the following:

Remove and replace all existing conduit at the replacement sites.  Ground conduits, junction boxes, and metal poles by using grounding brushes on the conduit ends.

INCLUDE CLAUSE $636.05B IF CLAUSE $$636.04A IS USED

$$636.05B

636.05.  Delete the fourth paragraph and substitute the following:

Size pull boxes according to the National Electric Code (NEC) to accommodate the necessary wires and conduit for proper splicing of loop wires.

INCLUDE CLAUSE $$636.05C WHEN REQUIRING BORING UNDER THE ROADWAY

$$636.05C

636.05. Add the following:

When boring under the roadway to install conduits and lead-in cables, conform to the requirements of the (insert State and State Specification Reference), found at (insert link to the website containing the State Specification Reference not a direct link to the spec reference) subject to approval.

INCLUDE CLAUSE $$636.07A IF THE GOVERNMENT WILL PROVIDE THE TRAFFIC COUNTERS TO THE CONTRACTOR – VERIFY WITH PARTNER AGENCY

$$636.07A

636.07.  Add the following after the first paragraph:

The Government will furnish the traffic counter at no cost to the Contractor.  Coordinate with the CO to request delivery of a traffic counter for each traffic count station shown in the plans. Begin coordination between 21 and 28 days before traffic count station work is to begin.

INCLUDE CLAUSE $$636.07B IF THE GOVERNMENT WILL PROVIDE THE MODEMS FOR THE TRAFFIC COUNTERS TO THE CONTRACTOR – VERIFY WITH PARTNER AGENCY

$$636.07B

The Government will furnish the modem at no cost to the Contractor.  Coordinate with the CO to request delivery of a modem for each traffic count station shown in the plans.  Begin coordination between 21 and 28 days before traffic count station work is to begin.

INCLUDE CLAUSE $$636.07C FOR CABINET GROUNDING

$$636.07C

For pole-mounted cabinets, install ⅝-inch diameter, 8-foot long, copper-clad steel ground rod or 14-inch squared, ground plate before pouring the concrete foundation.  Connect the ground rod or plate to the cabinet ground busbar and cover with 6 inches of approved backfill.  Drill hole in pole and back of cabinet to provide wire access.  Run ground conductor out of cabinet and seal holes as approved.

INCLUDE CLAUSE $$636.07D WHEN A SOLAR PANEL IS REQUIRED FOR THE TRAFFIC COUNTER – VERIFY WITH PARTNER AGENCY IF A SOLAR PANEL IS NEEDED

$$636.07D

For new traffic counter installations that will utilize a fan in the cabinet, or located under tree coverage or in the low sun zones (northeast and pacific northwest), verify that the panel size will produce enough power for all cabinet components and increase the size of the solar panel as directed.  Ensure the solar panel size does not exceed 750 square inches.

INCLUDE THE FOLLOWING ON ALL PROJECTS WITH RECTANGULAR RAPID FLASHING BEACONS

$$636.08A

Delete Subsection 636.08 and substitute the following:

636.08 Rectangular Rapid-Flashing Beacon Systems. Provide and install rectangular rapid-flashing beacon (RRFB) systems according to the following:

(a) MUTCD;

(b) Architectural Barriers Act (ABA);

(c) Public Right-of-Way Accessibility Guidelines (PROWAG); and

(d) The manufacturer’s recommendations.

Install all wiring within the post.

INCLUDE CLAUSE $$636.09A FOR WIRING REQUIREMENTS WITHIN THE NEW CABINET; TYPICALLY, WHEN A FULL TRAFFIC COUNTER SYSTEM IS INSTALLED

$$636.09A

636.09.  Add the following:

Select wire insulation color within the RS-232 cables directing the traffic counter to read a specific loop, based on the color assignments shown in Table 636-4.  This arrangement will allow up to eight loops to be connected to the traffic counter.  At the terminal block, one RS-232 cable can connect up to four loops to the traffic counter.  Provide two RS-232 cables if more than four lanes are counted.  Connect cable 1 to loops 1 to 4 and cable 2 to loops 5 to 8.

| Table 636-4 Loop Assignments for RS-232 Cables |  |  |
| --- | --- | --- |
| RS-232 Cable | Loop | Color |
| 1 | 1 | Red |
| 1 | 2 | White |
| 1 | 3 | Green |
| 1 | 4 | Blue |
| 1 | Ground | Light green |
| 2 | 5 | Red |
| 2 | 6 | White |
| 2 | 7 | Green |
| 2 | 8 | Blue |
| 2 | Ground | Light green |

INCLUDE CLAUSE $$636.10A FOR TRAFFIC DETECTOR’S FULL SCALE OPERATION DEMONSTRATION TEST; TYPICALLY, WHEN A FULL TRAFFIC COUNTER SYSTEM IS INSTALLED

$$636.10A

636.10.  Add the following to the fourth paragraph:

Repair or replace any material and equipment that becomes defective, lost, or damaged during the demonstration period.  If the equipment does not operate according to the specifications or manufacturer’s recommendations during the demonstration period, the CO has the option of returning the equipment at the Contractor’s cost.

INCLUDE CLAUSE $$636.11A IF THE NEW CABINET WILL BE INSTALLED BY OTHERS AFTER THE PROJECT IS COMPLETED - VERIFY WITH THE PARTNER AND CONSTRUCTION

$$636.11A

636.11.  Add the following:

In addition to the as-built drawings required by Subsection 104.06(c), provide the following to the CO:

- Field wiring diagram showing loops, pull boxes, and conduit runs inside two one-gallon re-sealable storage bags, one inside the other; and

- An electronic copy of each document.

INCLUDE THE FOLLOWING ON PROJECTS WITH RECTANGULAR RAPID FLASHING BEACONS PAID BY THE EACH - INCLUDE WHEN PAY ITEM 63602-8000 IS USED. (IF USED, ALSO INCLUDE CLAUSE $$633.11A)

$$636.14A

636.14.  Add the following:

When measuring RRFB systems by the each, measure a complete crossing location as one regardless of the number of devices placed.