US DEPARTMENT OF TRANSPORTATION – FEDERAL HIGHWAY ADMINISTRATION

Construction Inspection Checklist

Section 555 Steel Structures

| Project Name: | Project No.: |
| --- | --- |
| Date: | Weather: |
| Contractor: | Subcontractor: |
| Inspector: | Location/Station: |
| Description of work being inspected: |  |

| Conformance | CHECKS (characteristics) |
| --- | --- |
| Yes No N.A. |  |
|  | General |
|  | 1. Was the structural steel fabricated in a plant certified under the AISC Quality Certification Program? (555.03) |
|  | 2. Were fracture critical elements fabricated according to the AASHTO Guide Specifications for Fracture Critical Non-redundant Steel Bridge Members? (555.03) |
|  | 3. Were welding and weld qualification tests performed according to the provisions of ANSI/AASHTO/AWS Bridge Welding Code D1.5? (555.03) |
|  | Notice of Beginning of Work |
|  | 4. Was a written notice given 21 days before manufacturing any materials or performing any work in the shop? (555.0) |
|  | Inspection |
|  | 5. Was inspection at the fabrication site performed according to Subsection 106.06 and ASTM A 578M as modified by Subsection 555.05 (a) thru (c)? (555.05) |
|  | 6. Were mill tests and certifications furnished? (555.05) |
|  | Drawings |
|  | 7. Were drawings prepared according to Subsections 104.03 and 555.06? (555.06) |
|  | Storage of Material |
|  | 8. Was structural material stored above ground on platforms, skids, or other supports, and kept free from dirt, grease, and other foreign matter, and protected from corrosion? (555.07) |
|  | Fabrication |
|  | 9. Was fabrication performed according to Subsection 555.08? (555.08) |
|  | Annealing and Stress Relieving |
|  | 10. Was annealing and stress relieving performed according to Subsection 555.09? (555.09) |
| Conformance | CHECKS (characteristics) |
| Yes No N.A. |  |
|  | Bolt Holes |
|  | 11. Were all punched or drilled bolt holes prepared according to Subsection 555.10? (555.10) |
|  | Pins and Rollers |
|  | 12. Were pins and rollers fabricated according to Subsection 555.11? (555.11) |

|  | Eyebars |  |
| --- | --- | --- |
|  | 13. Were the requirements of Subsection 555.12 followed? (555.12) |  |
|  | Assembly Bolting |  |
|  | 14. Were surfaces of metal-to-metal contact cleaned before assembling? (555.13) |  |
|  | 15. Were assembly parts securely pinned and firmly draw together before drilling, reaming and bolting commenced? (555.13) |  |
|  | 9. Were assembled pieces taken apart, if it was necessary, for the removal of burrs and shavings produced by the operation? (555.13) |  |
|  | 10. Were members assembled to be free from twists, bends, and other deformation? (555.13) |  |
|  | 11. Was drift during assembling just enough to bring the parts into position without enlarging holes or distorting the metal? (555.13) |  |
|  | Assembly- Welded Connections |  |
|  | 12. Were fabricated surfaces and edges to be welded; smooth, uniform, clean and free of defects that would adversely affect the quality of the weld? (555.14) |  |
|  | 13. Were edges prepared according to ANSI/AASHTO/AWS Bridge Welding Code D1.5? (555.14) |  |
|  | Preassembly of Field Connections |  |
|  | 14. Was Preassembly of Field Connections performed according to Subsection 555.15? (555.15) |  |
|  | Connections using Unfinished, Turned or Ribbed Bolts |  |
|  | 15. If unfinished, Turned or Ribbed bolts were used, was it according to Subsection 555.16? (555.16) |  |
|  | Connections Using High-Strength Bolts |  |
|  | 16. If High-Strength bolts were used was it according to Subsection 555.17? (555.17) |  |
| Conformance | CHECKS (characteristics) |  |
| Yes No N.A. |  |  |
|  | Welding |  |
|  | 17. Did welding, welder qualification, prequalification of weld details, and inspections of welds conform to ANSI/AASHTO/AWA Bridge Welding Code D1.5? (Deleting the provisions of 9.25.1.7) (555.18) |  |
|  | 18. Was the nominal fillet weld size underrun? (555.18) |  |
|  | 19. There were no brackets, clips, shipping devices, or other material not required, welded or tacked to any member not shown on the accepted drawings? (555.18) |  |
|  | Erection |  |
|  | 20. Were steel erectors certified and was erection performed according to Subsection 555.19? (555.19) |  |
|  | 21. |  |
|  | 22. |  |
| Percent Conformance Calculations |  | YesYes + No(100)= (100)= % Conformance |

Comments: